Udbhava X ’26 | Hackathon |

SC-01 The “Ghost” Classroom (Energy Efficiency)

LIMITATIONS AND FUTURE SCOPE

1. Limitations of the Proposed System

The proposed Automated Energy-Grid Orchestrator, while effective in reducing energy wastage, has certain limitations that must be acknowledged:

➤ 1.1 Sensor Dependency
The system relies primarily on occupancy sensors such as PIR sensors. These sensors detect motion but may fail to identify occupants who remain stationary for long periods, potentially leading to incorrect system shutdowns.

➤ 1.2 False Positives and False Negatives
Environmental factors such as airflow, heat variations, or unintended movement may trigger the sensors inaccurately. This can result in unnecessary switching of lights or HVAC systems.

➤ 1.3 Network Dependency
The system depends on a stable network connection for communication between components. Any network disruption may delay decision-making or result in temporary system inefficiency.

➤ 1.4 Rule-Based Logic Constraints
The current implementation is based on predefined rules. While reliable, it lacks the ability to learn from historical data or adapt dynamically to changing usage patterns.

➤ 1.5 Initial Infrastructure Cost
Deployment requires installation of sensors, controllers, and smart switching devices. Scaling the system across a large campus with multiple classrooms may involve significant initial investment.

➤ 1.6 Integration Complexity
Integrating the system with existing electrical infrastructure and institutional timetable databases may require customization and technical effort, depending on the university’s existing setup.

➤ 1.7 Limited Environmental Awareness
The prototype does not currently incorporate environmental parameters such as ambient light, temperature, or humidity, which could further optimize energy usage.

➤ 1.8 Security Concerns
As an IoT-based system, it may be vulnerable to unauthorized access or cyber threats if proper security measures such as authentication and encryption are not implemented.

2. Future Scope and Enhancements

The proposed system provides a strong foundation and can be further enhanced to improve efficiency, intelligence, and scalability:

➤ 2.1 AI-Based Predictive Optimization
Machine learning techniques can be integrated to predict room occupancy patterns based on historical data, enabling proactive energy management and improved efficiency.

➤ 2.2 Advanced Analytics Dashboard
A comprehensive dashboard can be developed to visualize energy consumption, savings, and usage trends, assisting administrators in making data-driven decisions.

➤ 2.3 Mobile Application Integration
A mobile application can allow faculty and administrators to monitor room status, perform manual overrides, and receive real-time alerts from anywhere on campus.

➤ 2.4 Smart Environmental Control
Integration of additional sensors such as temperature, humidity, and light intensity sensors can enable more precise control of HVAC and lighting systems.

➤ 2.5 Vision-Based Occupancy Detection
Computer vision techniques using cameras can provide more accurate occupancy detection and people counting, reducing reliance on motion sensors.

➤ 2.6 Renewable Energy Integration
The system can be integrated with renewable energy sources such as solar panels, allowing dynamic energy optimization based on energy availability.

➤ 2.7 Campus-Wide Expansion
The system can be extended beyond classrooms to include laboratories, libraries, auditoriums, and hostel facilities, enabling complete campus automation.

➤ 2.8 Enhanced Security Mechanisms
Implementation of secure communication protocols, encryption, and role-based access control can strengthen system security and protect against unauthorized access.

➤ 2.9 Self-Monitoring and Maintenance System
Future versions can include automated fault detection and maintenance alerts for malfunctioning sensors or devices, ensuring system reliability.

3. Conclusion

➤ The proposed system effectively addresses the issue of energy wastage in classrooms by integrating schedule-based and occupancy-based automation.
➤ Although it has certain limitations, the scope for future enhancements is significant.
➤ With further development, it can evolve into a fully intelligent and autonomous smart campus ecosystem.