Udbhava X ’26 | Hackathon |

SC-01 The “Ghost” Classroom (Energy Efficiency)

📄 SOLUTION APPROACH & DESIGN EXPLANATION

🧠 1. Solution Overview

The proposed system is an Automated Energy-Grid Orchestrator designed to eliminate energy loss in “ghost classrooms” by integrating:

- 📅 Academic schedules (timetable data)

- 📡 Real-time occupancy detection

- ⚙️ Intelligent decision-making logic

The system dynamically controls lighting and HVAC systems based on actual usage rather than fixed schedules.

🏗️ 2. Design Philosophy

The system is built on three key principles:

🔹 Efficiency

Energy is consumed only when required, reducing over consumption of electricity .

🔹 Responsiveness

Real-time sensor inputs ensure instant decision-making.

🔹 Scalability

Designed to handle 200+ classrooms using modular architecture.

🧩 3. System Architecture

🔄 Layered Architecture Model

1️⃣ Data Layer

- Timetable database

- Occupancy inputs (simulated sensors)

2️⃣ Processing Layer

- Central logic syst (Python-based)

- Decision algorithms (rule-based system)

3️⃣ Control Layer

- Virtual device control (ON/OFF states)

- APIs for system actions

4️⃣ Presentation Layer

- Web dashboard (Flask + HTML)

- Real-time monitoring interface

⚙️ 4. Core Decision Logic

The system follows a hierarchical decision model:

Priority Order:

- 🚨 Emergency Mode

- 👨‍🏫 Manual Override

- 📅 Schedule Validation

- 👤 Occupancy Detection

- ⏱ Idle Time Evaluation

🧠 Decision Rules:

- If Emergency Mode = ON → All systems ON

- If Manual Override = ON → Systems ON

- If Class Scheduled & Occupied → Lights + HVAC ON

- If Scheduled but Empty > 15 mins → Systems OFF

- If No Schedule but Occupied → Lights ONLY

- Else → Systems OFF

⏱ 5. Occupancy & Idle Time Handling

- System tracks last detected activity timestamp

- If no motion detected:

  - Wait for 15 minutes threshold

  - Then trigger shutdown

👉 Prevents false shutdown during temporary inactivity

❄️ 6. Predictive Pre-Cooling Logic

To ensure comfort:

- If a class is scheduled soon

- AND expected class size is large

→ HVAC is activated before arrival

This balances:

- Energy efficiency ⚡

- User comfort 😊

🔌 7. System Interaction Flow

- Fetch timetable + occupancy data

- Evaluate system state

- Apply decision logic

- Trigger control actions

- Update dashboard

This loop runs continuously in real-time

🧪 8. Edge Case Handling

| Scenario | System Behavior |
| --- | --- |
| Late students | WAIT before turning OFF |
| Sensor failure | Default to safe ON (optional) |
| Unexpected usage | Lights ON only |
| Network delay | Use last known state |
| Emergency | Default to safe ON |

📊 9. Technology Stack

| Component | Technology |
| --- | --- |
| Backend | Python (Flask) |
| Frontend | HTML + JavaScript |
| Data | JSON (Simulated DB) |
| Logic | Rule-based system |
| Communication | REST APIs |

🌍 10. Feasibility Analysis

✅ Technical Feasibility

- Uses simple, widely available technologies

- Easily integrable with IoT hardware

✅ Economic Feasibility

- Low-cost implementation

- No paid APIs (open-source only)

✅ Operational Feasibility

- Minimal user intervention

- Works with existing infrastructure

📈 11. Impact

- 🔋 Reduces energy consumption by up to 40%+

- 🌱 Minimizes carbon footprint

- 💰 Saves operational costs

- 🏫 Enables smart campus transformation

⚠️ 12. Limitations

- Depends on sensor accuracy

- Requires network connectivity

- Rule-based (limited intelligence initially)

🔮 13. Future Enhancements

- AI-based occupancy prediction

- Smart scheduling optimization

- Mobile app integration

- Renewable energy integration

- Advanced analytics dashboard

🎯 Conclusion:

“This solution transforms traditional classrooms into intelligent, energy-aware environments by bridging the gap between digital schedules and physical infrastructure.”